## PV_Modules
manufacturer | country | item_type | model_family | models_list | pmax_w_min | pmax_w_max | voc_v_min | voc_v_max | vmp_v_min | vmp_v_max | isc_a_min | isc_a_max | imp_a_min | imp_a_max | efficiency_pct_min | efficiency_pct_max | max_system_vdc | source_url | source_note | confidence
Jinko Solar | China | PV Module | JKM550-570M-72HL4-(V) | JKM550M-72HL4-V, JKM555M-72HL4-V, JKM560M-72HL4-V, JKM565M-72HL4-V, JKM570M-72HL4-V | 550 | 570 | 49.62 | 50.04 | 40.9 | 41.34 | 14.03 | 14.39 | 13.45 | 13.79 | 21.29 | 22.07 | 1500 | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Official Jinko datasheet (EN). | high
JA Solar | China | PV Module | JAM72S30 (MR/GR/LR families) | JAM72S30-525/550/MR, JAM72S30-540/565/GR, JAM72S30-560/585/LR | [12 empty] | 1500 | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Official JA family datasheet link for JAM72S30 560-585/LR; family listed from your image set. | medium
JA Solar | China | PV Module | JAM66D45 (DEEP BLUE 4.0 Pro) | JAM66D45-595/LB to JAM66D45-620/LB | 595 | 620 | 47.5 | 48.5 | 39.27 | 40.21 | 15.9 | 16.13 | 15.15 | 15.42 | 22 | 23 | 1500 | https://www.jasolar.com/uploadfile/fujian/2024/0801/9969979a84f4c1b.pdf | Official JA datasheet (EN) for JAM66D45 family. | high
Risen Energy | China | PV Module | RSM110-8-535M to 560M | RSM110-8-535M, 540M, 545M, 550M, 555M, 560M | 535 | 560 | [10 empty] | 1500 | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Official Risen datasheet; image list also includes RSM156/RSM150/RSM144 variants not yet fully parsed. | medium
LONGi | China | PV Module | LR5-72HGD-560M to 590M | LR5-72HGD-560M, 565M, 570M, 575M, 580M, 585M, 590M | 560 | 590 | 50.99 | 51.63 | 42.82 | 43.44 | 13.89 | 14.38 | 13.08 | 13.59 | 21.7 | 22.8 | 1500 | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Official LONGi datasheet (EN). | high

## Inverters_Grid
manufacturer | country | item_type | model_family | models_list | ac_kw_min | ac_kw_max | max_dc_input_v | mppt_v_min | mppt_v_max | mppt_count | max_input_current_a | max_efficiency_pct | battery_v_min | battery_v_max | max_charge_discharge_a | source_url | source_note | confidence
KACO New Energy | Germany | PV Inverter | blueplanet 50.0 TL3 | blueplanet 50.0 TL3 (S/B/M/XL/XLF variants) | 50 | 52 | 1100 | 580 | 900 | 1 | 90 |  |  |  |  | https://kaco-newenergy.com/index.php?eID=dumpFile&f=10186&t=f&token=3d6ef44b243767c518740a06df28edd14ea53994 | Official KACO technical data sheet. | high
KACO New Energy | Germany | PV Inverter | blueplanet 3.0-20.0 NX3 M2 | blueplanet 3.0 NX3 M2, 5.0, 8.0, 10.0, 15.0, 20.0 | 3 | 20 | 1100 | 150 | 1000 | 2 | [5 empty] | https://kaco-newenergy.com/index.php?eID=dumpFile&f=10182&t=f&token=86c73412ff27b4d7e45b87989d6d86d2ce7990c2 | Official KACO technical data sheet. | high
KACO New Energy | Germany | PV Inverter | blueplanet 100/125 NX3 + 125 TL3 | blueplanet 100 NX3 M8, blueplanet 125 NX3 M10, blueplanet 125 TL3 | 100 | 125 | [9 empty] | https://kaco-newenergy.com/index.php?eID=dumpFile&f=2760&t=f&token=cf27dbf6af77beca6bf9f42319be5b1e886f7cfe | 125 TL3 extended technical data; NX3 family captured from official product page. | medium
ABB/FIMER | Italy | PV Inverter | UNO-DM-TL-PLUS-Q / PVS / TRIO | UNO-DM-1.2/2.0/3.0/3.3/4.0/4.6/5.0/6.0-TL-PLUS-Q, PVS-10-120-TL, TRIO-5.8/7.5/8.5-TL-OUTD | 1.2 | 120 | 600 |  |  | 2 | [5 empty] | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Official FIMER datasheet for UNO-DM-6.0-TL-PLUS-Q; wider family/model list from your image set. | medium
Solis (Ginlong) | China | PV Inverter | S6-GR1P(2.5-6)K / S5-GR1P / 4G legacy | S6-GR1P2.5K to 6K, S5-GR1P2.5K to 6K, Solis-1P series | 2.5 | 6 | 600 | 50 | 520 | 2 | [5 empty] | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Official Ginlong brochure with S6/S5 residential string specs. | medium
Solis (Ginlong) | China | PV Inverter | S5-GC50K / S5-GC60K | S5-GC50K, S5-GC60K | 50 | 60 | 1100 | 180 | 1000 | 5 | 32 |  |  |  |  | https://www.ginlong.com/uploads/file/Solis_Brochure_GBR_V1%2C2_2021_08.pdf | Official Ginlong brochure table for S5-GC utility/commercial units. | medium
SOFAR | China | PV Inverter | SOFAR 3.3KTLX-G3 to 12KTLX-G3 | 3.3, 4.4, 5.5, 6.6, 8.8, 10, 11, 12KTLX-G3 | 3.3 | 12 | 1100 | 140 | 1000 | 2 | 15 |  |  |  |  | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Official SOFAR datasheet PDF. | high
Fronius | Austria | PV Inverter | Primo 3.0-1 to 8.2-1 | Primo 3.0-1, 3.5-1, 3.6-1, 4.0-1, 4.6-1, 5.0-1, 6.0-1, 8.2-1 | 3 | 8.2 | 1000 |  |  | 2 | [5 empty] | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Official Fronius product technical page (model family). | medium
Fronius | Austria | PV Inverter | Symo 20.0-3-M / Eco 25-27 | Symo 20.0-3-M, Eco 25.0-3-S, Eco 27.0-3-S | 20 | 27 | 1000 | 420 | 800 | [6 empty] | https://manuals.fronius.com/html/4204101909 | Official Fronius manual with Symo 20.0-3-M technical data table. | medium
Growatt | China | PV Inverter | MID 15-30KTL3-X/X2 | MID 15KTL3-X, 17KTL3-X, 20KTL3-X, 22KTL3-X, 25KTL3-X, MID 17-30KTL3-X2 | 15 | 30 | 1100 | 200 | 1000 | 2 |  | 98.75 |  |  |  | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Official Growatt datasheet PDF (MID 15-25KTL3-X). | high
Growatt | China | PV Inverter | MIN 2500-6000TL-X/XH | MIN 2500TL-X, 3000TL-X, 3600TL-X, 4200TL-X, 4600TL-X, 5000TL-X, 6000TL-X | 2.5 | 6 |  |  |  | 2 |  | 98.4 |  |  |  | https://en.growatt.com/products/min-2500-6000tl-x-xh | Official Growatt product page; datasheet link visible but direct file fetch was intermittently blocked. | medium
Afore | China | PV Inverter | BNT003-025KTL | BNT003KTL, BNT004KTL, BNT005KTL, BNT006KTL, BNT008KTL, BNT010KTL, BNT012KTL, BNT013KTL, BNT015KTL, BNT017KTL, BNT020KTL, BNT025KTL | 3 | 25 | 1100 | 150 | 1000 | 2 | [5 empty] | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Official Afore datasheet PDF for BNT series. | high
Afore | China | PV Inverter | HNS single-phase legacy | HNS3000TL, HNS3600TL, HNS4000TL, HNS5000TL (legacy family from your list) | 3 | 5 | [9 empty] | https://aforeuk.com/product/string-inverter-3kw-hns3000tl-1 | Distributor/legacy reference; official Afore global archive for HNS is limited. Verify before production import. | low

## Inverters_Hybrid
manufacturer | country | item_type | model_family | models_list | ac_kw_min | ac_kw_max | max_dc_input_v | mppt_v_min | mppt_v_max | mppt_count | max_input_current_a | max_efficiency_pct | battery_v_min | battery_v_max | max_charge_discharge_a | source_url | source_note | confidence
SOFAR | China | PV Hybrid Inverter | HYD 3000-6000-EP | HYD 3000-EP, 3680-EP, 4000-EP, 4600-EP, 5000-EP, 5500-EP, 6000-EP | 3 | 6 | 600 | 90 | 550 | 2 |  |  | 42 | 58 | 100 | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Official SOFAR HYD EP datasheet. | high
SOFAR | China | PV Hybrid Inverter | HYD 5-20KTL-3PH | HYD 5KTL-3PH, 6KTL-3PH, 8KTL-3PH, 10KTL-3PH, 15KTL-3PH, 20KTL-3PH | 5 | 20 | 1000 | 180 | 960 | 2 | [5 empty] | https://www.sofarsolar.com/upload/file/20241010/1728530345356035090.pdf | Official SOFAR three-phase hybrid datasheet. | high
SOFAR | China | PV Hybrid Inverter | ESI 3-6K-S1 | ESI 3K-S1, 3.68K-S1, 4K-S1, 4.6K-S1, 5K-S1, 5K-S1-A, 6K-S1 | 3 | 6 | 550 | 85 | 520 | 2 |  |  | 350 | 435 | 20 | https://www.sofarsolar.com/upload/file/20251216/1765872816646069574.pdf | Official SOFAR ESI datasheet (latest listed). | high
Solis (Ginlong) | China | PV Hybrid Inverter | S6-EH1P(3-6)K-L-EU | S6-EH1P3K-L-EU, 3.6K, 4.6K, 5K, 6K | 3 | 6 | 550 | 90 | 520 | 2 |  |  | 40 | 58 | 125 | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Official Ginlong hybrid datasheet. | high
Solis (Ginlong) | China | PV Hybrid Inverter | S5-EH1P(3-6)K-L | S5-EH1P3K-L, 3.6K, 4.6K, 5K, 6K | 3 | 6 | [9 empty] | https://www.ginlong.com/energystorageinverter4/s5-eh1p3-6k-l_cn.html | Official product page (CN). Structured EN datasheet URL not reliably exposed via crawler. | medium
Deye | China | PV Hybrid Inverter | SUN-3/3.6/5/6K-SG04LP1-EU | SUN-3K-SG04LP1-EU, SUN-3.6K-SG04LP1-EU, SUN-5K-SG04LP1-EU, SUN-6K-SG04LP1-EU | 3 | 6 | 500 | 150 | 425 | 2 |  |  | 40 | 60 | 135 | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Official Deye product page with embedded technical table text. | high
Deye | China | PV Hybrid Inverter | SUN-12/14/16K-SG01LP1-EU | SUN-12K-SG01LP1-EU, SUN-14K-SG01LP1-EU, SUN-16K-SG01LP1-EU | 12 | 16 | 500 | 150 | 425 | 3 |  |  | 40 | 60 | 290 | https://www.deyeinverter.com/deyeinverter/2023/12/18/datasheet_sun-12-16kk-sg01lp1-eu_231218_en.pdf | Official Deye datasheet PDF for SG01LP1 family. | high
KACO New Energy | Germany | PV Hybrid Inverter | blueplanet hybrid series (from list) | blueplanet hybrid 6.0 NH3, 12 NH3, 25.0 NX3 M3 (from your approval-list image) | [11 empty] | https://kaco-newenergy.com/products | Family placeholders from your image list; finalize per exact KACO hybrid datasheet before production import. | low

## Source_Log
manufacturer | item_type | source_url | source_note | date_accessed
Jinko Solar | PV Module | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Official Jinko datasheet (EN). | 2026-04-09
JA Solar | PV Module | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Official JA family datasheet link for JAM72S30 560-585/LR; family listed from your image set. | 2026-04-09
JA Solar | PV Module | https://www.jasolar.com/uploadfile/fujian/2024/0801/9969979a84f4c1b.pdf | Official JA datasheet (EN) for JAM66D45 family. | 2026-04-09
Risen Energy | PV Module | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Official Risen datasheet; image list also includes RSM156/RSM150/RSM144 variants not yet fully parsed. | 2026-04-09
LONGi | PV Module | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Official LONGi datasheet (EN). | 2026-04-09
KACO New Energy | PV Inverter | https://kaco-newenergy.com/index.php?eID=dumpFile&f=10186&t=f&token=3d6ef44b243767c518740a06df28edd14ea53994 | Official KACO technical data sheet. | 2026-04-09
KACO New Energy | PV Inverter | https://kaco-newenergy.com/index.php?eID=dumpFile&f=10182&t=f&token=86c73412ff27b4d7e45b87989d6d86d2ce7990c2 | Official KACO technical data sheet. | 2026-04-09
KACO New Energy | PV Inverter | https://kaco-newenergy.com/index.php?eID=dumpFile&f=2760&t=f&token=cf27dbf6af77beca6bf9f42319be5b1e886f7cfe | 125 TL3 extended technical data; NX3 family captured from official product page. | 2026-04-09
ABB/FIMER | PV Inverter | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Official FIMER datasheet for UNO-DM-6.0-TL-PLUS-Q; wider family/model list from your image set. | 2026-04-09
Solis (Ginlong) | PV Inverter | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Official Ginlong brochure with S6/S5 residential string specs. | 2026-04-09
Solis (Ginlong) | PV Inverter | https://www.ginlong.com/uploads/file/Solis_Brochure_GBR_V1%2C2_2021_08.pdf | Official Ginlong brochure table for S5-GC utility/commercial units. | 2026-04-09
SOFAR | PV Inverter | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Official SOFAR datasheet PDF. | 2026-04-09
Fronius | PV Inverter | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Official Fronius product technical page (model family). | 2026-04-09
Fronius | PV Inverter | https://manuals.fronius.com/html/4204101909 | Official Fronius manual with Symo 20.0-3-M technical data table. | 2026-04-09
Growatt | PV Inverter | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Official Growatt datasheet PDF (MID 15-25KTL3-X). | 2026-04-09
Growatt | PV Inverter | https://en.growatt.com/products/min-2500-6000tl-x-xh | Official Growatt product page; datasheet link visible but direct file fetch was intermittently blocked. | 2026-04-09
Afore | PV Inverter | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Official Afore datasheet PDF for BNT series. | 2026-04-09
Afore | PV Inverter | https://aforeuk.com/product/string-inverter-3kw-hns3000tl-1 | Distributor/legacy reference; official Afore global archive for HNS is limited. Verify before production import. | 2026-04-09
SOFAR | PV Hybrid Inverter | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Official SOFAR HYD EP datasheet. | 2026-04-09
SOFAR | PV Hybrid Inverter | https://www.sofarsolar.com/upload/file/20241010/1728530345356035090.pdf | Official SOFAR three-phase hybrid datasheet. | 2026-04-09
SOFAR | PV Hybrid Inverter | https://www.sofarsolar.com/upload/file/20251216/1765872816646069574.pdf | Official SOFAR ESI datasheet (latest listed). | 2026-04-09
Solis (Ginlong) | PV Hybrid Inverter | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Official Ginlong hybrid datasheet. | 2026-04-09
Solis (Ginlong) | PV Hybrid Inverter | https://www.ginlong.com/energystorageinverter4/s5-eh1p3-6k-l_cn.html | Official product page (CN). Structured EN datasheet URL not reliably exposed via crawler. | 2026-04-09
Deye | PV Hybrid Inverter | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Official Deye product page with embedded technical table text. | 2026-04-09
Deye | PV Hybrid Inverter | https://www.deyeinverter.com/deyeinverter/2023/12/18/datasheet_sun-12-16kk-sg01lp1-eu_231218_en.pdf | Official Deye datasheet PDF for SG01LP1 family. | 2026-04-09
KACO New Energy | PV Hybrid Inverter | https://kaco-newenergy.com/products | Family placeholders from your image list; finalize per exact KACO hybrid datasheet before production import. | 2026-04-09

## Models_Staging_Exact
manufacturer | country | item_type | topology | model_exact | model_family | is_from_approved_image_list | source_url | source_note | confidence | status | notes
Jinko Solar | China | PV Module | module | JKM550M-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM555M-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM560M-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM565M-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM570M-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM575N-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM580N-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM585N-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
Jinko Solar | China | PV Module | module | JKM590N-72HL4-V | JKM550-590-72HL4-V | yes | https://www.jinkosolar.com/uploads/JKM550-570M-72HL4-%28V%29-F5-EN.pdf | Approved-list image + Jinko official datasheet family. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-445/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-450/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-455/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-460/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-465/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-470/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-525/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-530/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-535/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-540/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-545/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-550/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-555/MR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-560/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-565/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-570/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-575/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-580/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S30-585/LR | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S40-575/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S40-580/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S40-585/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S40-590/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM72S40-595/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-590/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-595/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-600/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-605/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-610/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-615/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
JA Solar | China | PV Module | module | JAM66D45-620/LB | JAM72S30/JAM72S40/JAM66D45 families | yes | https://www.jasolar.com/uploadfile/2023/0606/20230606021034377.pdf | Approved-list image ranges + JA official family datasheets. | high | seeded
Risen Energy | China | PV Module | module | RSM156-6-430M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM156-6-435M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM156-6-440M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM156-6-445M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM156-6-450M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM156-6-455M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM150-8-480M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM150-8-485M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM150-8-490M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM150-8-495M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM150-8-500M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-535M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-540M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-545M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-550M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-555M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM110-8-560M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM144-9-535M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM144-9-540M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM144-9-545M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM144-9-550M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
Risen Energy | China | PV Module | module | RSM144-9-555M | RSM156/RSM150/RSM110/RSM144 ranges | yes | https://en.risenenergy.com/uploads/20240117/RSM110-8-535-560M%20IEC1500V-35mm%202023H2-2-EN.pdf | Approved-list image ranges + Risen official family datasheet. | medium | seeded
LONGi | China | PV Module | module | LR5-72HGD-560M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-565M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-570M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-575M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-580M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-585M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
LONGi | China | PV Module | module | LR5-72HGD-590M | LR5-72HGD | yes | https://static.longi.com/L_Gi_LE_PM_T_PMD_059_F139_LR_5_72_HGD_560_590_M_V1_30_30_and_15_V19_3_EN_8fdcd1a7f4.pdf | Approved-list image includes LR5-72HGD-585M; expanded using LONGi official 560-590 family. | high | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 3.0 NX1 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 4.0 NX1 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 5.0 NX1 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 3.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 4.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 5.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 6.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 8.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 10.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 15.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 20.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 25.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 30.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 33.0 NX3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 50.0 TL3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 87.0 TL3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 100 NX3 M8 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 125 NX3 M10 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 125 TL3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 165 TL3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 3.0 NX1 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 5.0 NX1 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 3.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 5.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 8.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 10.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 12.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 15.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 20.0 NX3 M2 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 25.0 NX3 M3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 30.0 NX3 M3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 33.0 NX3 M3 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 50.0 NX3 M5 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
KACO New Energy | Germany | PV Inverter | grid-tie | blueplanet 60.0 NX3 M5 | blueplanet NX/TL grid families | yes | https://kaco-newenergy.com/products | Approved-list image families mapped to named models; verify exact variant suffixes before strict approval checks. | medium | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-1.2-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-2.0-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-3.0-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-3.3-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-4.0-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-4.6-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-5.0-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | UNO-DM-6.0-TL-PLUS-Q | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-10-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-12.5-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-15-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-20-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-30-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-33-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-50-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-60-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-100-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | PVS-120-TL | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | TRIO-5.8-TL-OUTD | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | TRIO-7.5-TL-OUTD | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
ABB/FIMER | Italy | PV Inverter | grid-tie | TRIO-8.5-TL-OUTD | UNO-DM/PVS/TRIO | yes | https://www.fimer.com/sites/default/files/FIMER_UNO-DM-6.0-TL-PLUS-Q__EN_Rev_E_0.pdf | Approved-list image model families + FIMER official datasheet family reference. | high | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P2.5K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P3K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P3.6K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P4K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P4.6K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P5K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S6-GR1P6K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P3K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P4K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P5K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P6K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P8K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P10K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P12K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P13K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P15K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P17K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P20K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P25K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P30K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P33K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GR3P40K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GC50K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | S5-GC60K | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P8K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P10K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P12K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P15K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P20K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P25K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P30K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P36K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
Solis (Ginlong) | China | PV Inverter | grid-tie | Solis-3P40K-4G | S6-GR1P / S5-GR3P / GC / 4G | yes | https://www.ginlong.com/uploads/file/Solis_Technical_Brochure_EUR_V1%2C2_2022_05.pdf | Approved-list image families + Solis official technical brochure. | medium | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 1000TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 1600TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 2200TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 2700TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 3000TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 3300TL-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 3.3KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 3.6KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 4KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 4.6KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 5KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 6KTLM-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 3.3KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 4.4KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 5.5KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 6.6KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 7.7KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 8.8KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 10KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
SOFAR | China | PV Inverter | grid-tie | SOFAR 12KTLX-G3 | TL/TLM/TLX G3 | yes | https://www2.sofarsolar.com/upload/file/20230210/1675991516244032234.pdf | Approved-list image model families + SOFAR official datasheet. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 3.0-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 3.5-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 3.6-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 4.0-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 4.6-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 5.0-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 5.0-1 AUS | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 6.0-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Primo 8.2-1 | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 3.0-3-S | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 3.7-3-S | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 4.5-3-S | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 3.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 3.7-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 4.5-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 5.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 6.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 7.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 8.2-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 10.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 12.5-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 17.5-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Symo 20.0-3-M | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Eco 25.0-3-S | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Fronius | Austria | PV Inverter | grid-tie | Eco 27.0-3-S | Primo/Symo/Eco | yes | https://www.fronius.com/ar-ae/middle-east/solar-energy/installers-partners/technical-data/all-products/inverters/fronius-primo/fronius-primo-3-0-1 | Approved-list image families + Fronius official product/manual pages. | high | seeded
Growatt | China | PV Inverter | grid-tie | MIN 2500TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 3000TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 3600TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 4200TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 4600TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 5000TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MIN 6000TL-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 25KTL3-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 30KTL3-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 33KTL3-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 36KTL3-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 40KTL3-X | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 17KTL3-X2 | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 20KTL3-X2 | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Growatt | China | PV Inverter | grid-tie | MID 25KTL3-X2 | MIN/MID | yes | https://en.growatt.com/upload/file/MID_15-25KTL3-X_Datasheet_EN_202505.pdf | Approved-list image models + Growatt official MIN/MID references. | medium | seeded
Afore | China | PV Inverter | grid-tie | HNS3000TL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | HNS3600TL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | HNS4000TL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | HNS5000TL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT003KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT004KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT005KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT006KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT008KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT010KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT012KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT015KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT017KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT020KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
Afore | China | PV Inverter | grid-tie | BNT025KTL | HNS/BNT | yes | https://www.aforenergy.com/wp-content/uploads/2024/11/1-2409121504295141.pdf | Approved-list image model families + Afore official BNT datasheet (HNS to be verified against latest OEM docs). | medium | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 3000-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 3680-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 4000-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 4600-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 5000-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 5500-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 6000-EP | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 3000-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 3680-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 4000-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 4600-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 5000-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 6000-ES | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 5KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 6KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 8KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 10KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 15KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | HYD 20KTL-3PH | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 3K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 3.68K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 4K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 4.6K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 5K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 5K-S1-A | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
SOFAR | China | PV Hybrid Inverter | hybrid | ESI 6K-S1 | HYD/ESI | yes | https://www.sofarsolar.com/upload/file/20240205/1707117103572051692.pdf | Approved-list image models + SOFAR official hybrid datasheets. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S6-EH1P3K-L-EU | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S6-EH1P3.6K-L-EU | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S6-EH1P4.6K-L-EU | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S6-EH1P5K-L-EU | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S6-EH1P6K-L-EU | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S5-EH1P3K-L | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S5-EH1P3.6K-L | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S5-EH1P4.6K-L | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S5-EH1P5K-L | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Solis (Ginlong) | China | PV Hybrid Inverter | hybrid | S5-EH1P6K-L | S6-EH1P / S5-EH1P | yes | https://www.ginlong.com/uploads/file/Datasheet_S6-EH1P%283-6%29K-L-EU_Global.pdf | Approved-list image models + Solis official hybrid datasheet. | high | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-3K-SG04LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-3.6K-SG04LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-5K-SG04LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-6K-SG04LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-3.6K-SG03LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-5K-SG03LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-6K-SG03LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-14K-SG01LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-16K-SG01LP1-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-8K-SG03LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-10K-SG03LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-12K-SG03LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-5K-SG04LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-6K-SG04LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-8K-SG04LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-10K-SG04LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
Deye | China | PV Hybrid Inverter | hybrid | SUN-12K-SG04LP3-EU | SUN-SGxxLP1/LP3 EU | yes | https://deye.com/product/sun-3-3-6-5-6k-sg04lp1-eu/ | Approved-list image families + Deye official product pages; verify exact SG03/SG04/SG05 suffix against latest local approvals. | medium | seeded
KACO New Energy | Germany | PV Hybrid Inverter | hybrid | blueplanet hybrid 6.0 NH3 | blueplanet hybrid NH3/TL3 | yes | https://kaco-newenergy.com/products | Approved-list image family names; exact marketed SKUs to be confirmed from current KACO region catalog. | low | seeded
KACO New Energy | Germany | PV Hybrid Inverter | hybrid | blueplanet hybrid 8.0 NH3 | blueplanet hybrid NH3/TL3 | yes | https://kaco-newenergy.com/products | Approved-list image family names; exact marketed SKUs to be confirmed from current KACO region catalog. | low | seeded
KACO New Energy | Germany | PV Hybrid Inverter | hybrid | blueplanet hybrid 10.0 NH3 | blueplanet hybrid NH3/TL3 | yes | https://kaco-newenergy.com/products | Approved-list image family names; exact marketed SKUs to be confirmed from current KACO region catalog. | low | seeded
KACO New Energy | Germany | PV Hybrid Inverter | hybrid | blueplanet hybrid 12.0 NH3 | blueplanet hybrid NH3/TL3 | yes | https://kaco-newenergy.com/products | Approved-list image family names; exact marketed SKUs to be confirmed from current KACO region catalog. | low | seeded
KACO New Energy | Germany | PV Hybrid Inverter | hybrid | blueplanet hybrid 10.0 TL3 | blueplanet hybrid NH3/TL3 | yes | https://kaco-newenergy.com/products | Approved-list image family names; exact marketed SKUs to be confirmed from current KACO region catalog. | low | seeded